# ПРОГРАМА ОБУКА ЕУРЕМ

## 1. Energy technical basics

- scientific Basics

- structure of energy systems and typical optimization strategies

- Measurement and Control (MCR)

## 2. Project management

- development of a project concept

- presentation of the project concept

- project controlling

## 3. Economic calculation

- calculation of the application-specific costs

- comparative economic Evaluation

- calculation of payback periods

## 4. Energy management | load management

- establishing an energy management system (for example, ISO 50001)

- basics of internal energy audits

- tasks of energy data management

- structure of an energy data management system

- acquisition and structuring of consumption data and costs

- consumption and cost evaluations

- comparison of indicators

- process management Systems

- reduce load peaks

- software-based energy controlling

## 5. Energy and emissions trading

- energy-related laws and regulations

- energy purchasing, energy trading

- emissions trading

- contracting

## 6. Building energy requirements | energy efficient buildings

- construction physical basics

- construct | acquisition of the building envelope

- building energy certification

- energy-conscious building and renovation

## 7. Heating technology

- system components

- targetperformance analysis

- optimization (furnace and boiler, distribution, control, power consumption)

- geothermal energy

## 8. Process heat, steam, heat recovery

- system analysis (components, functions, temperature levels, process chains)

- process optimization

- operating mode

- heat recovery

## 9. Cogeneration of heat and power

- basic concepts and variants of CHP

- investments (turbine types, engine types, fuel cells)

- peripheral systems

- sizing of CHP plants (technical interpretation, profitability)

- cogeneration unit (CHP)

## 10. Ventilation and air conditioning

- basic physical laws

- system components

- analysis (flow, temperature difference, energy consumption)

- optimization (user behavior, Operation)

- Invest-measures (refrigerating machine, absorption , adsorption, spring water cooling, adiabatic cooling, distribution, utilization of waste heat)

## 11. Refrigeration technology

- basic elements and functions of refrigeration Systems

- analysis (COP calculation, losses, efficiency of the process)

- optimization (user behavior, minimizing cooling requirements, process optimization, restructuring cooling network, scheme, waste heat utilization, absorption refrigerating machine)

## 12. Electrical engineering, electrical drives

- basic knowledge electrical applications

- transformer losses and motor losses

- electronic speed regulation

- selection of efficient electric motors

- system optimization

## 13. Lighting

- photometric basic parameters, lighting systems

- dimensioning of lighting systems

- operating time optimization

- highly efficient lighting systems

## 14. Compressed air

- compressors, distribution, compressed air consumers, plant control

- analysis (power consumption, distribution losses, leakage, efficiency)

- optimization (pressure level, control, leakage, maintenance, heat recovery, variable speed controlled compressor)

## 15. Solar technology

- components and operating principle of solar thermal systems

- applications of solar thermal plants (water, heating, hall heating, drying, solar cooling)

- components and functional principle of photovoltaic (PV) systems

- applications of PV systems (no external power supply, façade integration, shading elements)

## 16. Energy from biomass

- wood-fired plants (plant components and function, system dimensioning)

- biogas plants (plant components and function, system dimensioning)

## 17. Green IT

- data centers and server systems

- data center cooling

- virtualization and consolidation

- energy Efficiency at the office

- change of user behavior

EUREMplus Video Macedonia, https://youtu.be/yDwAI97oqxs

# EUREM Consortium

EUREM Consortium е организација на меѓународните партнери управувани од страна на избран управен одбор.

# EUREM Network

Една од главните цели на EUREM е промовирање и вмрежување на EnergyManagers. Сертифицираните Енергетски Менаџери треба да останат во контакт, да разменуваат искуства и да си помагаат едни на други во различни проекти. EUREM нуди разновидни платформи на вмрежување - во реалноста и виртуелно.

Повеќе  >>>

# EUREM Programme

EUREM програмата се нуди во над 30 земји и ги опфаќа речиси сите енергетски релевантни прашања кои можат да произлезат во компаниите. EUREM програмата  ги подобрува вештините на технички експерти во областа на подобрување на енергетската ефикасност.  Повеќе  >>>

EUREM MK

Здружението за енергетска ефикасност EUREM MK претставува платформа за здружување на енергетски експерти, со цел заедничка изработка или учество на посложени проекти кофинансирани од средства на фондовите на ЕУ наменети за Македонија или регионот или за учество во конзорциум од локални партнери во проекти од јавен интерес кои се реализираат со државни средства. Повеќе >>>

Најчесто поставувани прашања  >>>

КОМОРА НА МАЛ БИЗНИС - мрежа за деловен успех

Small Business Chamber - business success networking

Deutsch Technische Club

Здружение за енергетска ефикасност EUREM MK

Стопанска комора на мал бизнис

бул.Јане Сандански 113

1000 Скопје

тел. (02) 244 8077,  тел/фах. (02) 244 8134

info@sbch.org.mk

www.sbch.org.mk